# PHYS 121 – Lab Report

Experiment Title: Fluid Viscosity

Name: ____________________________

Lab Partner(s): _______________________

Instructor: _________________________

Date: ______________________________

## Experiment A1. Viscosity measurement using a falling ball viscometer

- Room temperature: T = ______ ± 0.2  ͦC. The density of the castor oil: ρ (T)=974-0.614·T=______ ±_____ kg/m3.

- Graduated cylinder: D0 = ______ ± 0.02 mm (UD = 0.02 mm), h = 200.3 ± 1.0 mm (Uh = 1.0 mm)

- Density of the ball: ρ0 = (7.80 ± 0.05) × 103 kg/m3. (Uρ0 = 0.05 × 103 kg/m3)

Table 1. Diameter of the steel ball

| Measurement # | d1 | d2 | d3 | d4 | d5 | d6 |
| --- | --- | --- | --- | --- | --- | --- |
| d (mm) 0.9 mm 1.2 mm |  |  |  |  |  |  |

d'=d-d0=d-0.01=________mm.

- Table 2. Travel time and velocity of the ball and the viscosity of castor oil

| Measurement # | t1 | t2 | t3 | t4 | t5 | t6 |
| --- | --- | --- | --- | --- | --- | --- |
| t (s) 0.9 mm 1.2 mm |  |  |  |  |  |  |

| t (s) 0.9 mm 1.2 mm | t (s) | υ (m/s) (υ=h/t) | η (Pa·s) (Equation 9) |
| --- | --- | --- | --- |

- Table 3. Error analysis for DIRECT measurements

| d'=d-d0 |  |
| --- | --- |
| Standard deviation/Bessel’s Correction s=1n-1i=1ndi-d2 |  |
| Standard uncertainty Ud=S2n |  |

d = d'±Ud=______±________mm.

## Experiment A2. Viscosity measurement using a capillary viscometer

Table 4. Viscosity measurement using capillary viscometer

|  |  | Ubbelohde viscometer Cannon-Fenske viscometer | Note |
| --- | --- | --- | --- |
| T ( ͦC) |  |  | To measure |
| Water | ρs (kg/m3) |  | Appendix A (after lab) |
|  | ηs (Pa·s) |  | Equation 23 (after lab) |
|  | νs (m2/s) |  | Equation 2 (after lab) |
|  | ts (s) |  | To measure (6 times) |
| Salt (10% w/v) Sugar (20% w/v) | Bé ( ͦBé) |  | To measure |
|  | ρ (kg/m3) |  | Equations 21 & 22(after lab) |
|  | t (s) |  | To measure (6 times) |
|  | ν (m2/s) |  | Equation 19 or 20 (after lab) |
|  | η (Pa·s) |  | Equation 2 (after lab) |

Using Equations 13 and 16, you will need to determine η'= η± Uη= ________±_______ Pa·s.

Note: You shall keep TWO digits after the decimal point for the values of η', η and Uη.

## Conceptual Questions

• How can you verify that the steel ball has reached terminal velocity?

• What are the assumptions behind Stokes' Law, and are they valid in this experiment?

• How does the position from which the ball is dropped (higher/lower) affect the results?

• What effect would tilting the cylinder or viscometer have on the measurement?

• How does temperature affect viscosity, and how would your results change in a warmer room?

## Additional notes